## mg per L
VTCAD compiled feedstock test results
|  |  |  | Vermont Tech manure | Vermont Tech heifer manure | "Bad" silage | Alchemist Sludge | Long Trail Yeast Slurry | Long Trail Yeast Slurry | Long Trail Yeast Slurry | Long Trail Waste Sludge | Long Trail Waste Sludge | Long Trail Waste Sludge | Rees glycerol (hi S?) | WMBD glycerol:crumb (50:50) | Wind River GTW | Grass | Ayers Brook Bedding | Prep pit | Effluent
| optimal or | moderate | problematic or | 2013-07-10 | 2015-02-10 | 2015-02-10 | 2015-01-01 | 2011-12-21 | 2013-01-31 | 2013-06-25 | 2011-12-21 | 2013-01-31 | 2013-06-25 | 2015-02-10 | (June 2015) | 2015-02-10 | 2015-02-10 | 2015-02-10 | 2015-02-10 | 2015-02-10
parameter | stimulatory | inhibition | inhibitory | Umaine | CVAS | CVAS | Endyne | Endyne | Endyne | Endyne | Endyne | Endyne | Endyne | CVAS | EIANH | CVAS | CVAS | CVAS | CVAS | CVAS
pH | > 5 |  | < 5 | 4.7 | 7.86 | 8.44 | 4.3 | 4.3 | 4.6 | 3.6 | 7.6 | 7.4 | 7.4 | 5.11 | 4.5 | 4.4 | 5.38 | 7.97 | 6.97 | 7.88
% TS | ~ 8 |  |  | 62.4 | 21.8 | 48.97 | 8.1 | [6 empty] | 70.63 |  | 5.03 | 59.48 | 27.29 | 7.95 | 4.65
% VS | > 80 | [5 empty] | 96.6 | [7 empty] | 1000000 mg/L
BOD, 5-day (mg/L) | [7 empty] | 103000 | 119000 | 110000 | <6,700 | 2700 | 690
COD (mg/L) | [6 empty] | 153900 | 190000 | NA | 203000 | 18000 | 15000 | 6800 |  | 420000
Nitrite N (mg/L) | [6 empty] | 8.91 | <2 | 4.7* | <2.0* | 2.8 | 0.7* | <0.2*
Nitrate N (mg/L) | [6 empty] | 0.162 | 2.6 |  |  | 1.3
Ammonia N (mg/L) | 50 - 200 | 1,500 - 3,000 pH > 7.4 | > 3000 | 994.589 | 1014.9601 | 1391.2263 | 24.3 | 66 |  |  | 38 |  |  | 55.1218 |  | 81.4844 | 272.0141 | 2270.7785 | 1168.3425 | 1150.368
TKN (mg/L) |  |  |  | 1893.314 | 7083.1513 | 9494.1309 | 1539 | 2600 | 5200 | 1500 | 1600 | 1500 | 480 | 2116.1978 |  | 3001.7415 | 10293.397 | 10626.5244 | 4010.7101 | 4220.4126
organic N |  |  |  | 898.725
P, total (mg/L) |  |  |  | 695.014 | 2917.8605 | 4428.9168 | 259.2 | 1000 | 1300 | 790 | 60 | 230 | 80 | 17944.5425 | 6050 | 365.4815 | 4071.8234 | 9271.2471 | 1364.8637 | 872.3624
K, total (mg/L) | 200 - 400 | 2,500 - 4,500 | 12,000 | 2899.886 | 5965.1374 | 18327.9985 | 591.3 | 1400 | 1700 | 47 | 120 | 130 | 9.4 | 774.1018 | 4000 | 233.6685 | 14107.5859 | 9400.6635 | 2555.9739 | 2112.6029
Na, total (mg/L) | 100 - 200 | 3,500 - 5,500 | 8,000 | 766.912 | 618.3228 | 370.2747 | 18.63 | 45 | 130 | 2 | 490 | 640 | 65 | 13435.3396 | 3755 | 1118.0139 | 266.0226 | 1203.0932 | 914.3029 | 584.7704
Cl (mg/L) | [6 empty] | 218.7 | 350 | 310 | 420 | 230 | 320 | 130
B, total (mg/L) |  |  | 2 | 2.3966 |  |  |  | 0.13 |  |  | 0.35
Ca, total (mg/L) | 100 - 200 | 2,500 - 4,500 | 8,000 | 1318.13 | 2860.3421 | 9343.1451 |  | 110 |  |  | 250 |  |  | 1165.9459 |  | 394.2407 | 5697.9165 | 8354.5476 | 1707.5775 | 1181.5238
Cu, total (mg/L) |  |  | 1 - 10 |  | 9.5864 | 5.9915 |  | 0.19 |  |  | 0.55 |  |  | 1.1983 |  | 14.3796 | 8.3881 | 14.3796 | 5.9915 | 5.9915
Fe, total (mg/L) |  |  | 5 | 853.1896 | 677.0395 | 514.0707 |  | 1.3 |  |  | 160 |  |  | 100.6572 |  | 168.9603 | 938.2689 | 413.4135 | 266.0226 | 299.575
Mg, total (mg/L) | 75 - 100 | 1,000 - 1,500 | 3,000 | 695.014 | 1261.8099 | 1684.8098 |  | 170 |  |  | 75 |  |  | 39.5439 |  | 67.1048 | 1217.4728 | 3705.1436 | 724.9715 | 457.7506
Mn, total (mg/L) |  |  |  | 38.3456 | 70.6997 | 73.0963 |  | 0.54 |  |  | 2.7 |  |  | 1.1983 |  | 2.3966 | 83.881 | 97.0623 | 19.1728 | 19.1728
Zn, total (mg/L) |  |  |  | 9.5864 | 34.7507 | 20.3711 |  | 3.1 |  |  | 1.6 |  |  | 2.3966 |  | 11.983 | 17.9745 | 87.4759 | 15.5779 | 13.1813
Sulfide (mg/L) |  |  | 50
[8 empty] | 1000 mg/L TP ~ 2300 mg/L orthophosphate | * nitrate/nitrite | * nitrate/nitrite | 60 mg/L TP ~ 138 mg/L othrophophate | * nitrate/nitrite | * nitrate/nitrite
[8 empty] | 1400 mg/L K ~1680 mg/L K2O |  |  | 120 mgL K ~ 144 mg/L K2O
Conversion from mg/kg to mg/L: multiply the mg/kg values by (%TS/100).

## no conversion
VTCAD compiled feedstock test results in units reported
| Vermont Tech manure | Vermont Tech heifer manure | "Bad" silage | Alchemist Sludge | Rees glycerol (hi S?) | Wind River GTW | Grass | Ayers Brook Bedding | Prep pit | Effluent
| 2013-07-10 | 2015-02-10 | 2015-02-10 | 2015-01-01 | 2015-02-10 | 2015-02-10 | 2015-02-10 | 2015-02-10 | 2015-02-10 | 2015-02-10
| Umaine | CVAS | CVAS | Endyne | CVAS | CVAS | CVAS | CVAS | CVAS | CVAS
pH |  | 7.86 | 8.44 | 4.3 | 5.11 | 4.4 | 5.38 | 7.97 | 6.97 | 7.88
% TS | 4.7 | 21.8 | 48.97 | 8.1 | 70.63 | 5.03 | 59.48 | 27.29 | 7.95 | 4.65
% VS | 62.4 |  |  | 96.6
BOD, 5-day (mg/L)
COD (mg/L) |  |  |  | 1,900,000 mg/kg
Nitrite N (mg/L) |  |  |  | 110 mg/kg
Nitrate N (mg/L) |  |  |  | <2.0 mg/kg
Ammonia N (mg/L) | 8.3 lb/1000 gallons | 8.47 lb/1000 gallons | 11.61 lb/1000 gallons | 300 mg/kg | 0.46 lb /1000 gallons | 0.68 lb/1000 gallons | 2.27 lb/1000 gallons | 18.95 lb/1000 gallons | 9.75 lb/1000 gallons | 9.60 lb/1000 gallons
TKN (mg/L) | 15.8 lb/1000 gallons | 59.11 lb/1000 gallons | 79.23 lb/1000 gallons | 19,000 mg/kg | 17.66 lb/1000 gallons | 25.05 lb/1000 gallons | 85.90 lb/1000 gallons | 88.68 lb/1000 gallons | 33.47 lb/1000 gallons | 35.22 lb/1000 gallons
organic N | 7.5 lb/1000 gallons
P, total (mg/L) | 5.8 lb ortho/1000 gallons | 24.35 lb/1000 gallons | 36.95 lb/1000 gallons | 3,200 mg/kg | 149.75 lb/1000 gallons | 3.05 lb/1000 gallons | 33.98 lb/1000 gallons | 77.37 lb/1000 gallons | 11.39 lb/1000 gallons | 7.28 lb/1000 gallons
K, total (mg/L) | 24.2 lb K2O /1000 gallons | 49.78 lb/1000 gallons | 152.95 lb/1000 gallons | 7,300 mg/kg | 6.46 lb/1000 gallons | 1.95 lb/1000 gallons | 117.73 lb/1000 gallons | 78.45 lb/1000 gallons | 21.33 lb/1000 gallons | 17.63 lb/1000 gallons
Na, total (mg/L) | 6.4 lb/1000 gallons | 5.16 lb/1000 gallons | 3.09 lb/1000 gallons | 230 mg/kg | 122.12 lb/1000 gallons | 9.33 lb/1000 gallons | 2.22 lb/1000 gallons | 10.04 lb/1000 gallons | 7.63 lb/1000 gallons | 4.88 lb/1000 gallons
Cl (mg/L) |  |  |  | 2,700 mg/kg
B, total (mg/L) | 0.02 lb / 1000 gallons
Ca, total (mg/L) | 11 lb /1000 gallons | 23.87 lb/1000 gallons | 77.97 lb/1000 gallons |  | 9.73 lb/1000 gallons | 3.29 lb/1000 gallons | 47.55 lb/1000 gallons | 69.72 lb/1000 gallons | 14.25 lb/1000 gallons | 9.86 lb/1000 gallons
Cu, total (mg/L) |  | 0.08 lb/1000 gallons | 0.05 lb/1000 gallons |  | 0.01 lb/1000 gallons | 0.12 lb/1000 gallons | 0.07 lb/1000 gallons | 0.12 lb/1000 gallons | 0.05 lb/1000 gallons | 0.05 lb/1000 gallons
Fe, total (mg/L) | 7.12 lb/1000 gallons | 5.65 lb/1000 gallons | 4.29 lb/1000 gallons |  | 0.84 lb/1000 gallons | 1.41 lb/1000 gallons | 7.83 lb/1000 gallons | 3.45 lb/1000 gallons | 2.22 lb/1000 gallons | 2.50 lb/1000 gallons
Mg, total (mg/L) | 5.8 lb/1000 gallons | 10.53 lb/1000 gallons | 14.06 lb/1000 gallons |  | 0.33 lb/1000 gallons | 0.56 lb/1000 gallons | 10.16 lb /1000 gallons | 30.92 lb/1000 gallons | 6.05 lb/1000 gallons | 3.82 lb/1000 gallons
Mn, total (mg/L) | 0.32 lb/1000 gallons | 0.59 lb/1000 gallons | 0.61 lb/1000 gallons |  | 0.01 lb/1000 gallons | 0.02 lb/1000 gallons | 0.70 lb/1000 gallons | 0.81 lb/1000 gallons | 0.16 lb/1000 gallons | 0.16 lb/1000 gallons
Zn, total (mg/L) | 0.08 lb/1000 gallons | 0.29 lb/1000 gallons | 0.17 lb /1000 gallons |  | 0.02 lb/1000 gallons | 0.10 lb/1000 gallons | 0.15 lb/1000 gallons | 0.73 lb/1000 gallons | 0.13 lb/1000 gallons | 0.11 lb/1000 gallons
Conversion from lb/1000 gallons to mg/L:
multiply the lb/1000 gallons value by 119.83 =(453.59 g/lb)(1000 mg/g)(1 gallon/3.7854 L)/1000 gallons
Conversion from mg/kg dry to mg/L:
multiply the mg/kg value by (%TS)/100.