## Sheet1
VTCAD systems description to accompany systems diagram
Element | associated equipment | function | display or setting
AD tank | gas sensor | Monitors the level of biogas in the balloon. | 90%
| level sensor | Monitors the level of slurry (digestate) in the AD tank. | 101%
| temp sensor | Monitors the temperature of the slurry (digestate) in the AD tank. | 98°F
| mixer 07 | Propeller that mixes the slurry (digestate) cyclonically. | 25 min, 90%
| mixer 08 | Propeller that mixes the slurry (digestate) cyclonically. | 25 min, 80%
| pump 06 | Chopper pump that mixes the slurry (digestate) vertically in either direction. | 25 min, 80%
water trap 1 | pump 09 | Pump automatically empties the water trap when full. | NV (not visible)
| valve 41 | Valve between the water trap and the pump that empties the trap. | closed (gray)
water trap 2 | pump 10 | Pump automatically empties the water trap when full. | NV (not visible)
| valve 42 | Valve between the water trap and the pump that empties the trap. | closed (gray)